## Notes
SWAMP Online Data Checker
http://ftp.mpsl.mlml.calstate.edu/swampupload.php
SWAMP Chemistry Template Documentation
http://swamp.mpsl.mlml.calstate.edu/resources-and-downloads/database-management-systems/swamp-25-database/documentation-25/#Chemistry
Key
Bold | Required
Columns B-P | Fill in rows before you run the transformer - Most of this information will be provided in the Chain of Custody and/or Analysis Authorization form
Red | Fill in rows before you run the transformer
Green | Double check or fill in after you run the transformer

## Results_Template
LabSampleID | StationCode | EventCode | ProtocolCode | LocationCode | SampleDate | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDepth | UnitCollectionDepth | ProjectCode | AgencyCode | CollectionComments | SampleID | PreparationPreservation | PreparationPreservationDate | DigestExtractMethod | DigestExtractDate | LabBatch | AnalysisDate | LabReplicate | MatrixName | MethodName | AnalyteName | FractionName | Unit | DilFactor | Result | ResultQualCode | MDL | RL | QACode | ExpectedValue | LabResultComments
Note on C1: SWAMP DMT: see EventLookUp
Note on D1: SWAMP DMT: see ProtocolLookUp
Note on E1: SWAMP DMT: see LocationLookUp
Note on H1: SWAMP DMT: see CollectionMethodLookUp
Note on I1: SWAMP DMT: see SampleTypeLookUp
Note on L1: SWAMP DMT: see UnitLookUp
Note on M1: SWAMP DMT: see ProjectLookUp
Note on N1: SWAMP DMT: see AgencyLookUp
Note on Q1: SWAMP DMT: see PrepPreservationLookUp
Note on S1: SWAMP DMT: see DigestExtractLookUp
Note on X1: SWAMP DMT: see MatrixLookUp
Note on Y1: SWAMP DMT: see MethodLookUp
Note on Z1: SWAMP DMT: see AnalyteLookUp
Note on AA1: SWAMP DMT: see FractionLookUp
Note on AB1: SWAMP DMT: see UnitLookUp
Note on AE1: SWAMP DMT: see ResQualLookUp
Note on AH1: SWAMP DMT: see QALookUp

## LabBatch_Template
LabBatch | LabAgencyCode | LabSubmissionCode | SubmittingAgencyCode | LabBatchComm
Note on B1: SWAMP DMT: see AgencyLookUp
Note on C1: SWAMP DMT: see LabSubmissionLookUp
Note on D1: SWAMP DMT: see AgencyLookUp

## Results Example_Water
LabSampleID | StationCode | EventCode | ProtocolCode | LocationCode | SampleDate | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDepth | UnitCollectionDepth | ProjectCode | AgencyCode | CollectionComments | SampleID | PreparationPreservation | PreparationPreservationDate | DigestExtractMethod | DigestExtractDate | LabBatch | AnalysisDate | LabReplicate | MatrixName | MethodName | AnalyteName | FractionName | Unit | DilFactor | Result | ResultQualCode | MDL | RL | QACode | ExpectedValue | LabResultComments
L-396-02-1 | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabFiltered, LabAcidified | 2006-01-12 09:30 | None | 1950-01-01 | SFL_B5L0697_W_NO3 | 2006-01-12 | 1 | samplewater | EPA 353.2 | Nitrate as N | None | mg/L | 1 | 2.51 |  | 0.02 | 0.05 | None
L-396-02-1 | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | FieldAcidified | 2006-01-10 | None | 1950-01-01 | SFL_B6A0186_W_TKN | 2006-01-10 | 1 | samplewater | EPA 351.2 | Nitrogen, Total Kjeldahl | None | mg/L | 1 | -0.1 | ND | 0.1 | 0.2 | None
L-396-02-1 | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabAcidified | 2006-01-12 | None | 1950-01-01 | SFL_B6A0251_W_NH3 | 2006-01-12 | 1 | samplewater | EPA 350.1 | Ammonia as N | Total | mg/L | 1 | 0.03 | DNQ | 0.02 | 0.05 | None
L-396-02-1 | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabFiltered, LabAcidified | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_DPHOS | 2006-01-11 | 1 | samplewater | SM 4500-P E | Phosphorus as P | Dissolved | mg/L | 1 | 3.9 |  | 0.02 | 0.05 | None
L-396-02-1 | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | FieldFiltered | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_OPO4 | 2006-01-10 | 1 | samplewater | SM 4500-P E | OrthoPhosphate as P | Dissolved | mg/L | 1 | -0.01 | ND | 0.01 | 0.05 | None
L-396-02-1 MS | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | MS1 | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabFiltered, LabAcidified | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_DPHOS | 2006-01-11 | 1 | samplewater | SM 4500-P E | Phosphorus as P | Dissolved | mg/L | 1 | 7.36 |  | 0.02 | 0.05 | None | 7 | PR 112
L-396-02-1 MS | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | MS1 | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | FieldFiltered | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_OPO4 | 2006-01-10 | 1 | samplewater | SM 4500-P E | OrthoPhosphate as P | Dissolved | mg/L | 1 | 5.023 |  | 0.01 | 0.05 | None | 5 | PR 101
L-396-02-1 MSD | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | MS1 | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabFiltered, LabAcidified | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_DPHOS | 2006-01-11 | 2 | samplewater | SM 4500-P E | Phosphorus as P | Dissolved | mg/L | 1 | 7.21 |  | 0.02 | 0.05 | None | 7 | PR 107, RPD 5
L-396-02-1 MSD | 904CBLAC3 | WQ | MPSL-DFG_Field_v1.0 | Bank | 2006-01-10 | 11:00 | Water_Grab | MS1 | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | FieldFiltered | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_OPO4 | 2006-01-10 | 2 | samplewater | SM 4500-P E | OrthoPhosphate as P | Dissolved | mg/L | 1 | 4.973 |  | 0.01 | 0.05 | None | 5 | PR 99.5, RPD 2
L-396-02-2 | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabFiltered, LabAcidified | 2006-01-12 09:30 | None | 1950-01-01 | SFL_B5L0697_W_NO3 | 2006-01-12 | 1 | samplewater | EPA 353.2 | Nitrate as N | None | mg/L | 1 | 1 |  | 0.02 | 0.05 | None
L-396-02-2 | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | FieldAcidified | 2006-01-10 | None | 1950-01-01 | SFL_B6A0186_W_TKN | 2006-01-10 | 1 | samplewater | EPA 351.2 | Nitrogen, Total Kjeldahl | None | mg/L | 1 | 2 |  | 0.1 | 0.2 | None
L-396-02-2 | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabAcidified | 2006-01-12 | None | 1950-01-01 | SFL_B6A0251_W_NH3 | 2006-01-12 | 1 | samplewater | EPA 350.1 | Ammonia as N | Total | mg/L | 1 | 4 |  | 0.02 | 0.05 | None
L-396-02-2 | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabFiltered, LabAcidified | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_DPHOS | 2006-01-11 | 1 | samplewater | SM 4500-P E | Phosphorus as P | Dissolved | mg/L | 1 | 4 |  | 0.02 | 0.05 | None
L-396-02-2 | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | FieldFiltered | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_OPO4 | 2006-01-10 | 1 | samplewater | SM 4500-P E | OrthoPhosphate as P | Dissolved | mg/L | 1 | 5 |  | 0.01 | 0.05 | None
L-396-02-2 Dup | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabFiltered, LabAcidified | 2006-01-12 09:30 | None | 1950-01-01 | SFL_B5L0697_W_NO3 | 2006-01-12 | 2 | samplewater | EPA 353.2 | Nitrate as N | None | mg/L | 1 | 0.98 |  | 0.02 | 0.05 | None
L-396-02-2 Dup | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | FieldAcidified | 2006-01-10 | None | 1950-01-01 | SFL_B6A0186_W_TKN | 2006-01-10 | 2 | samplewater | EPA 351.2 | Nitrogen, Total Kjeldahl | None | mg/L | 1 | 2.25 |  | 0.1 | 0.2 | None
L-396-02-2 Dup | 904CBBVR4 | WQ | MPSL-DFG_Field_v1.0 | Thalweg | 2006-01-10 | 13:00 | Water_Grab | Grab | 1 | 0.1 | m | SWAMP_RB9 | MPSL-DFG |  |  | LabAcidified | 2006-01-12 | None | 1950-01-01 | SFL_B6A0251_W_NH3 | 2006-01-12 | 2 | samplewater | EPA 350.1 | Ammonia as N | Total | mg/L | 1 | 4.2 |  | 0.02 | 0.05 | None
Method Blank | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-12 | 0:00 | Not Applicable | LabBlank | 1 | -88 | m | Not Applicable | SFL |  |  | LabFiltered, LabAcidified | 2006-01-12 09:30 | None | 1950-01-01 | SFL_B5L0697_W_NO3 | 2006-01-12 | 1 | blankwater | EPA 353.2 | Nitrate as N | None | mg/L | 1 | -0.02 | ND | 0.02 | 0.05 | None
Method Blank | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-10 | 0:00 | Not Applicable | LabBlank | 1 | -88 | m | Not Applicable | SFL |  |  | FieldAcidified | 2006-01-10 | None | 1950-01-01 | SFL_B6A0186_W_TKN | 2006-01-10 | 1 | blankwater | EPA 351.2 | Nitrogen, Total Kjeldahl | None | mg/L | 1 | -0.1 | ND | 0.1 | 0.2 | None
Method Blank | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-12 | 0:00 | Not Applicable | LabBlank | 1 | -88 | m | Not Applicable | SFL |  |  | LabAcidified | 2006-01-12 | None | 1950-01-01 | SFL_B6A0251_W_NH3 | 2006-01-12 | 1 | blankwater | EPA 350.1 | Ammonia as N | Total | mg/L | 1 | -0.02 | ND | 0.02 | 0.05 | None
IPS-NH3-01-32 | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-12 | 0:00 | Not Applicable | CRM | 1 | -88 | m | Not Applicable | SFL |  |  | LabAcidified | 2006-01-12 | None | 1950-01-01 | SFL_B6A0251_W_NH3 | 2006-01-12 | 1 | blankwater | EPA 350.1 | Ammonia as N | Total | mg/L | 1 | 3 |  | 0.02 | 0.05 | None | 3 | PR 100
IPS-Nut-04-4C | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-10 | 0:00 | Not Applicable | CRM | 1 | -88 | m | Not Applicable | SFL |  |  | FieldAcidified | 2006-01-10 | None | 1950-01-01 | SFL_B6A0186_W_TKN | 2006-01-10 | 1 | blankwater | EPA 351.2 | Nitrogen, Total Kjeldahl | None | mg/L | 1 | 3 |  | 0.1 | 0.2 | None | 3 | PR 100
IPS-Anions-Mix-06-9 | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-12 | 0:00 | Not Applicable | CRM | 1 | -88 | m | Not Applicable | SFL |  |  | LabFiltered, LabAcidified | 2006-01-12 09:30 | None | 1950-01-01 | SFL_B5L0697_W_NO3 | 2006-01-12 | 1 | blankwater | EPA 353.2 | Nitrate as N | None | mg/L | 1 | 1 |  | 0.02 | 0.05 | None | 1 | PR 100
Method Blank | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-11 | 0:00 | Not Applicable | LabBlank | 1 | -88 | m | Not Applicable | DFG-WPCL |  |  | None | 1950-01-01 | None | 1950-01-01 | WPCL_L-396-02_W_DPHOS | 2006-01-11 | 1 | blankwater | SM 4500-P E | Phosphorus as P | Total | mg/L | 1 | -0.02 | ND | 0.02 | 0.05 | None
Method Blank | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-10 | 0:00 | Not Applicable | LabBlank | 1 | -88 | m | Not Applicable | DFG-WPCL |  |  | LabFiltered | 2006-01-10 | None | 1950-01-01 | WPCL_L-396-02_W_OPO4 | 2006-01-10 | 1 | blankwater | SM 4500-P E | OrthoPhosphate as P | Dissolved | mg/L | 1 | -0.01 | ND | 0.01 | 0.05 | None
IPS-anions-mix-01-22 | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-10 | 0:00 | Not Applicable | CRM | 1 | -88 | m | Not Applicable | DFG-WPCL |  |  | None | 1950-01-01 | None | 1950-01-01 | WPCL_L-396-02_W_OPO4 | 2006-01-10 | 1 | blankwater | SM 4500-P E | OrthoPhosphate as P | Dissolved | mg/L | 1 | 5 |  | 0.01 | 0.05 | None | 5 | PR 100
IPS-Nut-05-47 | LABQA | WQ | Not Applicable | Not Applicable | 2006-01-11 | 0:00 | Not Applicable | CRM | 1 | -88 | m | Not Applicable | DFG-WPCL |  |  | None | 1950-01-01 | None | 1950-01-01 | WPCL_L-396-02_W_DPHOS | 2006-01-11 | 1 | blankwater | SM 4500-P E | Phosphorus as P | Total | mg/L | 1 | 3 |  | 0.02 | 0.05 | None | 3 | PR 100
Note on B1: SWAMP DMT: see StationLookUp
Note on C1: SWAMP DMT: see EventLookUp
Note on D1: SWAMP DMT: see ProtocolLookUp
Note on E1: SWAMP DMT: see LocationLookUp
Note on H1: SWAMP DMT: see CollectionMethodLookUp
Note on I1: SWAMP DMT: see SampleTypeLookUp
Note on L1: SWAMP DMT: see UnitLookUp
Note on M1: SWAMP DMT: see ProjectLookUp
Note on N1: SWAMP DMT: see AgencyLookUp
Note on Q1: SWAMP DMT: see PrepPreservationLookUp
Note on S1: SWAMP DMT: see DigestExtractLookUp
Note on X1: SWAMP DMT: see MatrixLookUp
Note on Y1: SWAMP DMT: see MethodLookUp
Note on Z1: SWAMP DMT: see AnalyteLookUp
Note on AA1: SWAMP DMT: see FractionLookUp
Note on AB1: SWAMP DMT: see UnitLookUp
Note on AE1: SWAMP DMT: see ResQualLookUp
Note on AH1: SWAMP DMT: see QALookUp

## Results Example_Sediment
LabSampleID | StationCode | EventCode | ProtocolCode | LocationCode | SampleDate | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDepth | UnitCollectionDepth | ProjectCode | AgencyCode | CollectionComments | SampleID | PreparationPreservation | PreparationPreservationDate | DigestExtractMethod | DigestExtractDate | LabBatch | AnalysisDate | LabReplicate | MatrixName | MethodName | AnalyteName | FractionName | Unit | DilFactor | Result | ResultQualCode | MDL | RL | QACode | ExpectedValue | LabResultComments
L-633-07- 48 | 715CPVOD2 | WQ | MPSL-DFG_Field_v1.0 | MidChannel | 2007-10-23 | 7:30 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.456 |  | 0.091 | 0.305 | None
L-633-07- 47 | 715CPVLG1 | WQ | MPSL-DFG_Field_v1.0 | MidChannel | 2007-10-23 | 8:30 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.722 |  | 0.12 | 0.401 | None
L-633-07- 49 | 715CRIDG1 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-23 | 14:00 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.081 | DNQ | 0.07 | 0.234 | None
L-633-07- 64 | 719CVSCOT | WQ | MPSL-DFG_Field_v1.0 | MidChannel | 2007-10-22 | 15:45 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.1 | DNQ | 0.082 | 0.275 | None
L-633-07- 66 | 723ARGRB1 | WQ | MPSL-DFG_Field_v1.0 | MidChannel | 2007-10-23 | 8:00 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.389 |  | 0.096 | 0.321 | None
L-633-07- 67 | 723ARINTL | WQ | MPSL-DFG_Field_v1.0 | MidChannel | 2007-10-23 | 12:50 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.198 | DNQ | 0.082 | 0.272 | None
L-633-07- 68 | 723NRBDRY | WQ | MPSL-DFG_Field_v1.0 | MidChannel | 2007-10-23 | 11:37 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.275 | DNQ | 0.084 | 0.279 | None
L-633-07- 65 | 723NROTWM | WQ | MPSL-DFG_Field_v1.0 | MidChannel | 2007-10-22 | 17:45 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.463 |  | 0.098 | 0.326 | None
L-636-07- 16 | 728SSGS02 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-24 | 7:00 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 5.86 |  | 0.18 | 0.601 | None
L-636-07- 17 | 728SSGS07 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-24 | 8:00 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 4.6 |  | 0.187 | 0.623 | None
L-636-07- 18 | 728SSGS09 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-24 | 10:00 | Sed_Grab | Integrated | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 5.54 |  | 0.229 | 0.763 | None
L-633-07- 46 | 715CRIDG1 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-23 | 14:00 | Sed_Grab | Integrated | 2 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.091 | DNQ | 0.074 | 0.247 | None
L-633-07- 46 Dup | 715CRIDG1 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-23 | 14:00 | Sed_Grab | Integrated | 2 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 2 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.085 | DNQ | 0.072 | 0.239 | None |  | RPD 6.82
L-633-07- 46 MS | 715CRIDG1 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-23 | 14:00 | Sed_Grab | MS2 | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.808 |  | 0.074 | 0.247 | HR | 0.808 | PR 96.5
L-633-07- 46 MSD | 715CRIDG1 | WQ | MPSL-DFG_Field_v1.0 | OpenWater | 2007-10-23 | 14:00 | Sed_Grab | MS2 | 1 | 2 | cm | SWAMP_RB7 | MPSL-DFG |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 2 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.798 |  | 0.074 | 0.247 | HR | 0.798 | PR 95.2, RPD 1.24
IPS-Sed-05-07 | LABQA | WQ | Not Applicable | Not Applicable | 2008-01-28 | 0:00 | Not Applicable | CRM | 1 | -88 | cm | Not Applicable | DFG-WPCL |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.907 |  | 0.062 | 0.207 | None | 0.92 | PR 98.6
IPS-Sed-05-07 Dup | LABQA | WQ | Not Applicable | Not Applicable | 2008-01-28 | 0:00 | Not Applicable | CRM | 1 | -88 | cm | Not Applicable | DFG-WPCL |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 2 | sediment | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.889 |  | 0.059 | 0.198 | None | 0.92 | PR 96.6, RPD 2.00
IWS-Se-08-123 | LABQA | WQ | Not Applicable | Not Applicable | 2008-01-28 | 0:00 | Not Applicable | LCS | 1 | -88 | cm | Not Applicable | DFG-WPCL |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | blankmatrix | EPA 7742M | Selenium | None | mg/Kg dw | 1 | 0.00294 |  | 0.0003 | 0.001 | None | 0.003 | PR 97.9
Method Blank | LABQA | WQ | Not Applicable | Not Applicable | 2008-01-28 | 0:00 | Not Applicable | LabBlank | 1 | -88 | cm | Not Applicable | DFG-WPCL |  |  | None | 1950-01-01 | JAOAC65 | 2008-01-28 | WPCL_3059_S_Se | 2008-01-28 | 1 | blankmatrix | EPA 7742M | Selenium | None | mg/Kg dw | 1 | -0.0003 | ND | 0.0003 | 0.001 | None
Note on B1: SWAMP DMT: see StationLookUp
Note on C1: SWAMP DMT: see EventLookUp
Note on D1: SWAMP DMT: see ProtocolLookUp
Note on E1: SWAMP DMT: see LocationLookUp
Note on H1: SWAMP DMT: see CollectionMethodLookUp
Note on I1: SWAMP DMT: see SampleTypeLookUp
Note on L1: SWAMP DMT: see UnitLookUp
Note on M1: SWAMP DMT: see ProjectLookUp
Note on N1: SWAMP DMT: see AgencyLookUp
Note on Q1: SWAMP DMT: see PrepPreservationLookUp
Note on S1: SWAMP DMT: see DigestExtractLookUp
Note on X1: SWAMP DMT: see MatrixLookUp
Note on Y1: SWAMP DMT: see MethodLookUp
Note on Z1: SWAMP DMT: see AnalyteLookUp
Note on AA1: SWAMP DMT: see FractionLookUp
Note on AB1: SWAMP DMT: see UnitLookUp
Note on AE1: SWAMP DMT: see ResQualLookUp
Note on AH1: SWAMP DMT: see QALookUp

## LabBatch Example
LabBatch | LabAgencyCode | LabSubmissionCode | SubmittingAgencyCode | LabBatchComm
SFL_B5L0697_W_NO3 | SFL | A | DFG-WPCL
SFL_B6A0186_W_TKN | SFL | A | DFG-WPCL
SFL_B6A0251_W_NH3 | SFL | A | DFG-WPCL
WPCL_L-396-02_W_DPHOS | DFG-WPCL | A | DFG-WPCL
WPCL_L-396-02_W_OPO4 | DFG-WPCL | A | DFG-WPCL
WPCL_3059_S_Se | DFG-WPCL | A | DFG-WPCL
Note on B1: SWAMP DMT: see AgencyLookUp
Note on C1: SWAMP DMT: see LabSubmissionLookUp
Note on D1: SWAMP DMT: see AgencyLookUp